# Tender text

# Motion/presence detector theMura S180 Slave UP WH

Order No. white: 		2060660

Features:

- Passive infrared motion/presence detector for wall mounting in flush-mounted box

- Cover in Theben design

- Slave device for the extension of the detection area of theMura detectors

- Rectangular detection area 170°, max. 14 m x 17 m

- Area restriction in scope of delivery

- Integrated button (can be deactivated)

- Fully or semi-automatic operation, switchable (can be set at master)

- Staircase light function (can be set at master)

- Extended function (can be set at master)

- Ready for immediate use due to factory presetting

- Test mode for checking the detection area

Technical data:

Operating voltage: 		230 V AC

Frequency: 			50 – 60 Hz

Power consumption: 		approx. 0.4 W

Radial detection area: 		12 x 10 m

Tangential detection area: 	14 x 17 m

Installation height Mh: 		0.8 – 1.2 m

Protection rating: 		IP20

Operating temperature: 		-15 °C to +45 °C

Dimensions: 			85 x 85 mm, installation depth 37 mm

Installation: 			wall mounting in flush-mounted box size 1