Elapsed-time counter, front 52 x 52 mm (BZ 143-1)

Elapsed-time counter; 52 x 52mm front plate; integrated part 46 x 46 mm; stretching clamp with spring closer and stretching clamp; clamp or flat plug connection; counter range up to 99,999.99 hours; operating voltage 230 V~/ 50 Hz

Deliver, assemble, connect up and set up

...

Make: Theben

Type: BZ 143-1

Order No.: 1430721

Unit: ST