Digital elapsed-time counter, 24x48mm front plate (BZ 146)

Digital elapsed-time counter, 24x48mm front plate, tensioning brackets 1 - 5 mm, LCD display to 99, 999.99 hours, progress display, terminal screws, operating voltage 110-240 V AC, 50 - 60 Hz

Deliver, assemble, connect up and set up

...

Make: Theben

Type: BZ 146

Order No.: 1460000

Unit: ST