Flush-mounted staircase light timer with functions, zero interconnection (ELPA 041)

Flush-mounted staircase light timer, housing 52 x 48 x 24 mm, time range 0.5 - 20 minutes, can be retriggered, 12 functions selectable via DIP switch: Sensor or switch connection, can be retriggered or prematurely switched off, switch-off pre-selection warning (DIN 18015-2) selectable, selectable time range 60 minutes, 3 and 4 wire connection, zero point switching, max. 30mA glow lamp load with electronic overload protection, additional sensor input electronically isolated for intercom systems AC/DC 8...230 V, 1 NO contact 8(5)A/230 V~

Deliver, assemble, connect up and set up

...

Make: Theben

Type: ELPA 041

Order No.: 0410002

Unit: ST