Rail mounted staircase light – time switch ELPA 1 with 10 functions (ELPA 1)

Rail mounted staircase light time switch with 10 functions, width 17.5 mm, time range 0.5 - 20 Min. Can be retriggered or prematurely switched off, switch-off pre-warning (DIN 18015-2) selectable,  time range 60 Min., power surge switch function, continuous light function, 3 and 4 wire connection, zero point switching, max. 150mA glow lamp load with electronic overload protection, additional sensor input electronically isolated for intercom systems AC/DC 8...240 V, 1 NO contact 16(16)A/230 V~

Deliver, assemble, connect up and set up

...

Make: Theben

Type: ELPA 1

Order No.: 0010002

Unit: ST