Short-time and cooling timers, mounted housing, 24 hour and 60 minutes 2 channels (FRI 77 g)

Short-time and defrost timer without power reserve; wall-mounted housing 105 x 105 x 61mm; 24 hour program controls start of defrost phase; adjustable defrost duration 2-56 minutes; additional time delay fan control; 2 two way switches 16 A/250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: FRI 77 g

Order No.: 0770033

Unit: ST