Short-time and cooling timers, without housing, 24 hour and 60 minutes (FRI 77 h-2)

Short-time and defrost timer without power reserve; drive without housing 65 x 82 x 48mm; quick fastening for 35mm rail; 24 hour program controls start of defrost phase; adjustable defrost duration 2-56 minutes; 1 two way switch 16 A/250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: FRI 77 h-2

Order No.: 0770802

Unit: ST