KNX combination sensor, wall mounted., 1-100 000 lux, -25-+55°C (LU 131  S KNX)

Brightness and temperature combination sensor; power supply via bus voltage; IP 54 in accordance with DIN EN 60529; 3 brightness thresholds: 1...100000 lux ; 2 temperature thresholds: -25°C to +55°C; 5 freely configurable channels:  1 sun protection channel and 4 universal channels. Sun Protection channel with automised sun protection specially for blind, awnings and shutter applications. Universal channels allow linking of Brightness and temperature. Learning object  for brightness thereshold.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: LU 131 S KNX

Order No.: 1319201

Unit: ST