EIB/KNX secondary clock, single-sided wall clock, diameter 25 cm, Arabic numerals (OSIRIA 220 AR-EIB/KNX)

EIB/KNX secondary clock; single-sided indoor wall clock; clock face diameter 25 cm; white metal face with black Arabic numerals; black DIN bar display of hours and minutes; red second hand; shockproof plastic housing with matt edge; diameter 26.5 cm; height 6.0 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 220 AR-EIB/KNX

Order No.: 5009200

Unit: ST