EIB/KNX secondary clock, double-sided wall clock (OSIRIA 242 AR-EIB/KNX)

EIB/KNX secondary clock, double-sided internal wall clock; face diameter 40 cm; white faces with black Arabic numerals; black bar display of hours and minutes; red second hand; shock-resistant Plexiglas; very secure, white painted metallic housing (RAL 9016); solid metal arm(15 cm) for wall or ceiling installation; diameter 42 cm; housing depth 11.6 cm; power reserve approx. 10 days.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: OSIRIA 242 AR-EIB/KNX

Order No.: 5009250

Unit: ST