Central part without switch section for RAM 741/746 (Central part)

Central part without switch section and setting button for RAMSES 741/746 UP- mechanical thermostat.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: Central part RAMSES 741/746

Order No.: 9070602

Unit: ST