Room thermostat, wall mounted 74 x 74 x 28 mm, white (RAM 701)

Room thermostat; 5 - 30°C; colour: pure white; wall mounted 74 x 74 x 28 mm; NC contact 10 A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 701

Order No.: 7010001

Unit: ST