Room thermostat with connection for temperature reduction (RAM 702)

Room thermostat; 5 - 30°C; with integral temperature reduction via external control (approx. 4K); wall mounted 74 x 74 x 28 mm; colour: pure white; NC contact 10 A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 702

Order No.: 7020001

Unit: ST