Room thermostat with internal setting and connection for temperature reduction (RAM 703)

Room thermostat; 5 - 30°C; external setting not possible; temperature set on start up inside device; with integral temperature reduction via external control (approx.4K); wall mounted 74 x 74 x 28 mm; colour: pure white; NC contact 10 A 230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 703

Order No.: 7030001

Unit: ST