Room thermostat with switch for heating additional heating, 1 indicator lamps (RAM 707)

Room thermostat; 5 - 30°C; with switch for heating ON/OFF; additional switch and LED for additional heating; wall mounted 74 x 74 x 28 mm; colour: pure white; NC contact 10 A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 707

Order No.: 7070001

Unit: ST