Room thermostat, changeover switch for heating/cooling, 3-way selector switch (RAM 709)

Room temperature controller, 5 - 30°C, with two way switch for heating (10A) and cooling (5A), 3-way selector switch for: Comfort mode; reduced temperature mode; external reduction (time controlled with timer); indicator lamp; wall mounted 74 x 74 x 28 mm; colour: pure white.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 709

Order No.: 7090001

Unit: ST