Room thermostat, electronic with external sensor (RAM 714 A)

Electronic room thermostat; 10 - 60°C; external temperature sensor for underfloor heating; sensor cable (IP54); length 4m; heating switch ON/OFF; external reduction 3.5K or 2K (time-controlled with timer); colour: pure white; wall mounted 74 x 74 x 28 mm; NC contact 16A/230V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 714 A

Order No.: 7140016

Unit: ST