Room thermostat, electronic connection for reduced mode (RAM 714)

Electronic thermostat; 5 - 30°C; Heating status display; external reduction 3.5K o 2K (time-controlled with timer); wall mounted 74 x 74 x 28 mm; colour: pure white; NC contact 8A 230V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 714

Order No.: 7140002

Unit: ST