Clock thermostat with daily program and fixed reduced mode (RAM 721)

Electronic thermostat with 24 hour program; automatic temperature reduction at night, programmable every 5 minutes, shortest switching time 20 minutes; day temperature settings from +10°C ... 30°C; temperature reduction at night approx. 5 K; party switch; indicator display; thermal circulation and operating point settings; housing colour white.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 721

Order No.: 7210030

Unit: ST