Flush-mounted room thermostat, white, with frame (RAM 741 RA)

Room temperature controller; with frame; 5 - 30°C; colour: pure white, NC contact, 10 A/250V~,

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 741 RA

Order No.: 7410131

Unit: ST