Flush-mounted room thermostat, white, without frame (RAM 741)

Flush-mounted room thermostat; can be combined with sub-frames(50x 50mm) from different switch manufacturers for area switch programs; 5 - 30°C; NC contact 10 A/250V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 741

Order No.: 7410130

Unit: ST