Flush-mounted room thermostat, connection for temperature reduction, heating switch. (RAM 746 RA)

Thermostat; 5 - 30°C; with frame; temperature reduction (approx. 4 K) possible by means of external control (e.g. switch, timer), housing pure white, NC contact 10 A/230 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 746 RA

Order No.: 7460131

Unit: ST