Electronic flush-mounted thermostat with remote sensor (RAM 751 RA)

Electronic temperature controller for underfloor heating; setting range for 10 – 50°C temperature limit or detection using the setting button; 2-point-controller (PWM), display of temperature reduction and heating ON, 2-pole mains switch for heating ON/OFF, emergency mode 30% heating with sensor error, external temperature sensor (Ф 6 mm) for underfloor heating; sensor cable (IP54); length 4 m; switch for heating ON/OFF; external temperature 3 K or 5 K (time-controlled with optional timer); colour pure white; central part 50 x 50 mm fits via adapter in nearly all frames; NO contact 16A/230V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 751 RA

Order no.: 7510131

Unit: ST