Clock thermostat 24 hour program, operating mode switch, 2 wire (RAM 784 s)

Electronic thermostat with automatic temperature reduction at night; 24 hour segment program disc; programmable every 15 minutes; shortest switching time; day and night temperature settings from +10°C ... 30°C; operating mode selector switch; frost protection 6°C; party switch; indicator display; thermal circulation and operating point settings; silting and pump protection function can be activated; connection for telephone remote switch; housing colour: white; 1 two way switch 6 A/250 V~.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: RAM 784 s

Order No.: 7840801

Unit: ST