USB interface EIB/KNX (USB interface EIB/KNX)

USB interfaces EIB/KNX; connects to PC via USB plug; may be used with ETS3 V1.), rail mounted 2 TLE.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: USB interface EIB/KNX

Order No.: 9070397

Unit: ST