Remote temperature sensor for RAM 366 top, white (remote temperature sensor for RAM 366 top, white)

Remote temperature sensor; wall mounted 71 x 71 x 27,5 mm; white; terminal screws.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: Remote temperature sensors for RAM 366 top, white

Order No.: 9070191

Unit: ST