Rail mounted 24 hour timer, segments, power reserve, 3 module (SUL 181 d)

Rail mounted timer, approx. 200 hour power reserve; width 52.5 mm; 24 hour  program; shortest switching time 15 minutes; Clock hand for time display and 12/24 hour recognition; time can be adjusted clockwise or counter-clockwise; switching pre-selection; manual switch with 3 positions: Continuous ON/AUTO/continuous OFF; switching status display; DuoFix spring terminal for 2 conductors; 1 two way switch 16A /250 V~; 230V / -50 Hz;sealable transparent cover.

Delivery, installation, connect up and set up

...

Make: Theben

Type: SUL 181 d

Order no.: 1810011

Unit: ST