Rail mounted 24 hour timer, pins, power reserve, 3 TLE (SUL 188 g)

Rail mounted timer with approx. 3 day power reserve, width 52.5 mm, 24 hr. segment program, shortest switching time 30 min., 2 two way switches 10 A/250 V~, sealable transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SUL 188 g

Order No.: 1880033

Unit: ST