Rail mounted 24 hour and 7 day timer. pins, power reserve, 3 TLE (SUL 188 hw)

Rail mounted timer without power reserve; width 52.5 mm; 24 hour and 7 day program; shortest switching time 45 minutes/12 hours; 2 two way switches 10 A/250V~; sealable transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SUL 188 hw

Order No.: 1880108

Unit: ST