24 hour and 7 day timer with plug-in base, power reserve, front 72 x 72 mm (SUL 189 hw)

Timer with plug-in base; front frame 72 x 72 mm; clamping bracket; approx. 3 days power reserve; 24 hour and 7 day program; shortest switching time 30 minutes/12 hours; 2 channels; 2 two way switches 10A/250V ~; transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SUL 189 hw

Order No.: 1890108

Unit: ST