Wall-mounted timer with 3 point mounting, 24 hour, power reserve, 2 channels (SUL 285/2 T - Day)

Wall-mounted timer with 3 point mounting; 175 x 105 x 74 mm; with 150 hours power reserve; 24 hour/ 7 day program option; shortest switching time 20 minutes/ 2 hours; 2 two way switches; 6A/250V~; sealable transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SUL 285/2 T - Day

Order No.: 2850033

Unit: ST