24 hour / 7 day timer with plug-in base, with power reserve, front 72 x 72 mm (SUL 289 g)

Timer with plug-in base; front frame 72 x 72 mm; clamping bracket; approx. 3 days power reserve; 24 hour and 7 day program; shortest switching time 30 minutes/12 hours; switching pre-selection and continuous switching; 2 two way switches 10A 250V ~; transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: SUL 289 g

Order No.: 2890033

Unit: ST