Time program connector with splash guard 24 hour, white (theben-timer 26 – IP 44 - day)

Compact time program connector; with splashguard (IP 54); 24 hour time program programmable in 96 segments in 15 minute intervals; manual switch for switching pre-selection; switching capacity 3500 W.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: theben-timer 26 – IP 44 - day

Order No.: 0260855

Unit: ST