60 minute timer with plug in base, front 72 x 72 mm (TM 179 h)

Timer with plug-in base; front frame 72x72 mm; clamping bracket; 60 minute program; shortest switching time 1.25 minutes; 1 two way switch 10A/ 250V~; transparent cover.

Deliver, assemble, connect up and set up

...

Make: Theben

Type: TM 179 h

Order No.: 1790008

Unit: ST