Rail mounted digital timer 1 channel, 7 day, control input, pulse, cycle 2 TLE (TR 611 top2)

Rail mounted digital timer; text-based operator guide and backlit display; interface incl. OBELISK top2 memory card; width 35 mm; spring screwless terminals; 10 year power reserve and programmed summer/winter time changeover. Daily and weekly program; shortest switching time 1 minute; holiday, pulse and cycle program; 2 random programs; delay timer; external control input; permanent ON/OFF/AUTO switching; switching pre-selection; 84 memory locations; PIN code; 1 channel; 1 two way switch 16A/250 V~

Deliver, assemble, connect up and set up

...

Make: Theben

Type: TR 611 top2

Order No.: 6110100

Unit: ST