Rail mounted digital timer 2 channel, 7 day, text line, plug clamp, 2 TLE (TR 612 top2)

Rail mounted digital timer with factory-set time; text-based operator guidance and backlit display; memory card interface; width 35 mm; spring screwless terminals, 10 year power reserve and programmed summer/winter time changeover. Daily and weekly program; shortest switching time 1 minute; permanent ON/OFF/AUTO switching; switching pre-selection; 56 memory locations; PIN code; 2 channels; 2 two way switches 16A/250 V~

Deliver, assemble, connect up and set up

...

Make: Theben

Type: TR 612 top2

Order No.: 6120100

Unit: ST