Valve adapter VA 80 (M30X1,5) for ALPHA 4 actuator

Suitable for Onda, Schlösser(from 1993), Oventrop, Heimeier, Herb, Therm-Concept, Frank, Roth (distributor), Dinotherm (distributor).

Deliver, assemble, connect up and set up

...

Make: Theben

Type: Valve adapter VA 80

Order No.: 907 0 437

# Unit: ST