Rail mounted power unit 24V DC (power unit 24 V DC)

Power unit 24V DC; rail mounted power unit; 4TLE; rated output 36 W; operating voltage 230V/ 50Hz

Deliver, assemble, connect up and set up

...

Make: Theben

Type: 24 V DC power pack

Order No.: 9079330

Unit: ST